Chromatography -> Separation Techniques
Chromatography Definition
- Separation of a mixture (solution) by variable distribution of its components between a mobile and stationary phase
- “distribution” -> based on physical properties -> polarity, volatility, mass, size, solubility, absorptivity
- Mobile phase -> typically is a solvent in which the mixture of components exists
- Stationary phase -> typically a packing material -> chromatographic bed required
Assess: chromatography is the physical separation of a mixture into its individual components
Essential Components of a chromatographic system
- Stationary phase: solid, gel or immobilised liquid -> has particular physical properties
- Chromatographic bed: refers to useable nature of the stationary phase -> packed into a column, spread over a surface, adsorbed to cellulose paper
- Mobile phase: acts as a solvent -> solution components dissolved here -> carries solute along the mobile phase -> essential role in eliciting distribution of solutes between the phases
- Delivery system: mechanism utilised to pass the mobile phase across/through the stationary phase
- Detection system: to monitor the test substances -> example would be absorbance at 280nm for proteins
Mixtures versus compounds
Mixture: two or more substances mixed together but not chemically bonded
Includes aqueous solution, air and rock
Compounds: substance consisting of two or more atoms of different elements chemically bonded together
Includes water and sodium chloride
Solution assessment
- Exists as an homogenous mixture
- A mixture in which one substance is dissolved in another
- Solution = solute(s) + solvent
- Solute is dissolved in the soluton -> initially solutes may be gaseous, solid or liquid
- Solubility: how much of a given solute will dissolve in a specified volume of solvent
- Insoluble: solute cannot dissolve fully in solvent
- Soluble: solute can dissolve fully in solvent
Difference between absorption and adsorption
- Absorption: molecules are draw into the bulk of the phase, the no longer occupy space in their original environment
- Adsorption: molecules not taken directly into the phase but rather interacts with the surface hence adhering to it
Chromatographic procedure
- Procedure directly linked to its purpose; separation of mixture components based on physical properties
- Mixtures would consist of components of different properties, basic understanding of these are required
- Procedure basically consists of:
1. Adsorption: select suitable matrix/stationary phase that result in adsorption of biomolecule of interest under specified conditions (temperature, pH, polarity, charge)
2. Elution of non-absorbed particles: continuously apply elution buffer promoting adsorption of molecule of interest and elution of unwanted molecules
3. Selective elution: gradient of changing conditions such as pH or [salt]
Purpose of Chromatography
Analytical
- Chromatography separates mixtures based on physical properties of components
- We may be given a solution -> unaware of constituents
- Taken small volume -> perform chromatography -> gain idea of solution constituents
Preparative
- Assume we want to collect one protein type from a mixture -> albumin from blood plasma
- Chromatography would separate all proteins
- We could therefore obtain a relatively pure sample of albumin
- Commercial applications exist -> purify a particular product using chromatography
- Protein purification uses combination of purification procedures
Extension of analytical/preparative chromatography uses
- Pharmaceutical company -> analytical -> determine chemicals present in a new drug
- Hospital -> analytical -> detect haemoglobin concentration is patients blood stream
- Manufacturing plant -> preparative -> purify chemical used in a product
- Environmental agency -> analytical -> determine pollutants present in a water sample
Classification of Chromatography
Based on mobile phase:
Gas Chromatography;
- Gas – solid
- Gas – liquid
Liquid Chromatography;
- Column -> gravity flow
- High performance -> pressure flow
- Thin layer -> adsorption
Based on attractive forces:
- Adsorption chromatography
- Affinity chromatography
- Partition chromatography
- Size-exclusion chromatography
- Ion-exchange chromatography
Attractive for chromatography methods -> all types of liquid chromatography
Adsorption chromatography: Separation of solutes based on their adsorption to the stationary phase through various types of intermolecular forces
Essential component assessment
- Mobile Phase: usually liquid (can be gas)
- Stationary Phase: Molecules adsorb onto its surface depending on polarity, adsorption caused by H-bonds, dipole-dipole interactions or Van der Waal forces -> the stationary phase is a porous, finely divided solid
a. Polystyrene-based resins (non-polar molecules) -> polar molecules eluted first
b. Silica, Aluminium Oxide, Calcium Phosphate -> binds polar molecules therefore non-polar molecules eluted first
Chromatographic Bed: Solid adsorbents packed into a column or can occur in thin layer form
Basic Procedure
- Stationary phase usually solid -> can have many different properties depending on the target molecule
- Adsorbents must be heated to be activated -> water molecules affect adsorptive capacity
- Overall procedure;
1. Sample loaded -> target molecules in the solvent retained due to their adsorption to the stationary phase
2. Wash -> unwanted substances not retained washed out the column
3. Elution -> Elution buffer passed through + target molecules then released
Advantages
Separate compounds that cannot be separated by other methods -> specificity high enough to separate cis-trans geometric isomers
Disadvantages
- Strong retention for some solutes
- May cause catalytic changes to the solutes
- Solid column packing may have diverse chemical + physical environments -> non-symmetrical peaks + variable retention times

Partition chromatography: Based on partitioning biomolecules between two liquid phases – the stationary and mobile phase – based on the solubility of the biomolecules in either phase. The stationary phase is coated on a solid support.
Essential component assessment -> Normal phase partition chromatography (NPLC)
- Stationary Phase: Polar liquid -> usually water
- Chromatographic surface: the water is immobilised by a solid matrix -> cellulose of paper
- Mobile Phase: immiscible, non-polar organic solvent
- Most polar solutes interact strongly with immobilised H2O -> eluted last from the column
Essential component assessment -> Reverse phase partition chromatography (RPLC)
- Stationary Phase: non-polar solvent -> such as a C-18 hydrocarbon (octadecylsilane)
- Mobile Phase: wide range of polar solvents -> water or an aqueous buffered solution containing one or more organic solvents (eg. Acetonitrile)
- Chromatographic bed: the non-polar organic solvent is bound to silica -> porous support matrix
- Non-polar solutes interact most strongly with the immobilised non-polar solvent -> eluted last
NB: notice that the mobile + stationary phase = opposite polarities -> ensures that the silica/paper remains coated with the liquid stationary phase
Usefulness in terms of partitioning abilities
- Separates peptides, proteins, vitamins, oligosaccharides
- Many biomolecules are amphipathic -> both polar/non-polar regions -> dissolve slightly in mobile phase (eg) -> associate better with stationary phase -> partitioning occurs
- Both normal/reverse phase liquid chromatography

Ion-exchange chromatography: Ions separated based on their tendency to displace other ions – of identical charge in sign - adsorbed to the stationary phase
Essential component assessment
Stationary phase:
- Column has packing of microscopic beads -> these are charged + solid -> charge is from ionised groups on surface
- The stationary phase -> ion exchange resin
- Common cation exchanger resins: carboxymethyl sephadex -> packing negative
- Common anion exchanger: DEAE sephadex (diethylaminoethyl) -> amino = positively charged Chromatographic surface: the positively charged resins are used as a column packing + sample loaded on top
Mobile phase: Aqueous buffer solution of biomolecule -> buffer solution may be essential for charge control of molecule
Basic procedure
- The sample we add is a mixture -> basis of chromatography
- Assume we have a mixture of proteins -> ion-exchange resin + buffer pH must be appropriate so that the targeted biomolecules are strongly attracted + bound to ion exchange resins on passage through system while other components aren’t
- Once mobile phase passes through we elute the targeted biomolecules by;
- Raising salt concentration of mobile phase -> competitions between anions/cations + bound proteins
- Change the pH -> proteins change charge -> affinity to ion-exchange resins decrease -> passes through
- Ionic molecules not electrostatically attracted to the ion exchange resins are eluted first
Dynamic Physical apparatus requirements
- To maximise resolution -> columns short + wide -> once sample components separated based on charge -> should be eluted as quickly as possible from columns -> avoids band broadening
- Reducing band broadening -> increases resolution -> larger flow rate = more explicit band formation
Advantages of Ion exchange chromatography
- Good resolution of charged biomolecules -> polar molecules weakly associate with ion exchange resins
- Separates mixtures of ionic biomolecules such as; amino acids, proteins, nucleic acids
- Electrophoresis may also be utilised instead of this procedure -> variation in purification
Affinity chromatography: purification of biomolecules based on biological, functional specificity rather than physical properties resulting on a very high degree of purity.
Essential component assessment
- Mobile Phase: Buffered aqueous solution of the mixture of biomolecules
- Stationary phase: Solid support matrix (usually agarose gel) -> complementary binding site is immobilised onto matrix
- Chromatographic bed: the explicit stationary phase (ligand) covalently bound to support matrix in a column
Basic Procedure
- Biomolecules specific to a ligand -> allows for high level of purification
- Affinity chromatography useful for isolating a small quantity of given biomolecule from a large amount of contaminants
- Contaminants have no affinity to ligands -> pass through the column with buffer
- Interaction between biomolecule and ligand is usually non-covalent -> easily removed in biological systems
- To elute bound biomolecules -> change pH of the buffer added to the column -> decreases non-covalent interaction between the molecule and the ligand
- Elution also elicited by the addition of molecules with higher affinity to the ligand present
Support matrix + ligand essential requirements
- ESSENTIAL: for successful affinity chromatography -> ligand must show specific but reversible reaction with the biomolecule being purified
- Ligand must also have a reactive functional group on one side allowing binding to the agarose support matrix
- Support matrix -> must be free of non-specific adsorption effects + have sufficient functional groups for binding of the ligand
- The immobilised molecule/ligand onto support matrix = AFFINITY LIGAND
Advantages of affinity chromatography
- Purification very high -> method is very specific -> high specificity
- Specific biomolecules can be isolated from a mixture
Disadvantages
- New ligand needed for each different biomolecule -> time consuming + expensive
- Depending on ligand concentration -> sample purified relatively small
- For large quantity of biomolecule -> many cycles required -> time consuming
Disadvantage overcome by group-specific adsorbents/ligands
High specificity ligands -> applying to only a single biomolecule usually
Affinity Ligand	Retained molecules
Antibodies	Antigens -> think of blood groups
Antigens	Antibodies
Substrates	Enzymes
Nucleic acids	Complimentary nucleic acids

Group specific ligands -> bind families of closely related molecules
Affinity Ligands	Retained Compounds
Lectins	Glycoproteins, carbohydrates, membrane proteins
Triazine dyes	NADH or NADPH dependant enzymes
Phenylboronic acid	Cis-diol containing compounds
Protein A/G	Antibodies
Metal chelated	Metal binding proteins/peptides

NB: membranes proteins are conjugated proteins, usually exist as glycoproteins.
Affinity chromatography usefulness
- Purifies enzymes, antibodies, transport proteins, receptor proteins, glycoproteins, lipoproteins, membrane receptors, mRNA, proteins that bind mRNA
- Purification based on all macromolecules with receptor/ligand specific binding

Resins: a solid or liquid synthetic organic polymer used as the basis of plastics, adhesives, varnishes, or other products.
Size exclusion chromatography: separation of molecules based solely on size -> ASSESS ASSOCIATED MATH
 Essential component assessment
Stationary phase: Beads of cross-linked gel with pores of consistent size. Beads produced by:
1. Cross linked dextrans -> sephadex
2. Cross linked polyacrylamide -> sephacryl
3. Cross-liked agarose -> sepharose
- Mobile phase: buffered aqueous solution containing biomolecules
- Chromatographic bed: Column is essentially packed with beads partitioning the biomolecules
Basic procedure
- Size exclusion/gel filtration solely based on stationary phase -> mobile phase carries biomolecules
- Buffer solution constantly added after sample loaded -> packing can’t get dry
- Molecular level -> pores are gates
- Large molecules -> don’t enter pores -> eluted first
- Small molecules -> enter pores -> largest elution volume -> eluted last
- Intermediate molecules -> partially enter pores
Usefulness of size exclusion chromatography
- Separates globular proteins -> enzymes, antibodies
- Method relatively fast
- Easy to visualise
Determining molecular mass of biomolecule through interpolation
- Plot of elution volume versus log(mass) -> linear
- Known elution volume through experimentation -> determine log(mass) -> determine mass
Essential procedure care
- Keep sample + buffer volume as small as possible
- Minimises band broadening
- Band broadening -> due to dilution of sample during passage through sample
- Increased band broadening = decreased resolution

Selecting a separation method
- Choose technique with direct interaction between biomolecules + stationary phase
- These associated with the highest resolution
- These include: ion exchange, affinity
- Techniques not involving direct contact = partition + size exclusion chromatography

NB: assess summary of chromatographies based on attractive forces in note pack.
Commonly used types of chromatography
Thin-layer chromatography -> an example of adsorption chromatography -> biomolecules interact with stationary phase

- Method utilised for identifying substances -> require comparison to a normal
- Method utilised for assessing purity
- Useful -> relatively quick + small amount of biomolecule needed
Basic principle
- Biomolecule mixture spotted at one end -> dries
- Stationary phase is a glass plate coated with silica -> silica is polar
- Coated plate placed in liquid -> moves up plate with capillary action -> acts as the solvent -> mobile phase
- Components of the mixture dissolve in solvent -> solubility depends on physical characteristics of the solvent + molecules
- Different biomolecule = different properties -> move different distances along the plate
- Most polar biomolecules -> move smallest distance -> great attraction to stationary phase
- Most non-polar molecules -> move largest distance -> smallest solubility + attraction to stationary phase
Basic setup
- Draw a line 1cm from bottom of plate -> spot biomolecule mixture on the line
- Fill jar with solvent -> should not touch constructed line
- Close the jar -> ensures internal atmosphere saturated with gaseous solvent -> partial pressure equilibration
- Solvents include mixtures of hexane + ethyl acetate -> allows both polar + non-polar substances to dissolve to some extent
Visualisation
- Remove plate before solvent runs off the end
- Draw circles around spots using pencil -> if spots cannot be seen use UV light then draw circles
- Ninhydrin = classic visualising agent for amino acids
Quantification of results
- Measure distance covered by solvent front + individual molecules
- Rf factor calculated -> refer to math sheet
- Rf factors calculated for normal “column” -> compared to calculated Rf factors -> identity of mixture determined
Sample purity + TLC summary
- One spot -> sample pure VERSUS; more than one spot -> different biomolecules + different properties
- TLC = example of adsorption chromatography -> direct interaction of biomolecule with stationary phase
- Stationary phase = layer of glass coated with silica -> silica is explicit stationary phase
- Components differ in solubility + adsorptive strength to stationary phase -> affects movement of molecules

Paper Chromatography -> example of partition chromatography -> partitioning of molecules between two liquids
- Stationary phase: water molecules bound to cellulose in paper
- Mobile phase: organic solvent -> predominantly non-polar
- Chromatographic bed -> “stacking” of water molecules by their interactions with cellulose fibres
Basic principle
- Solvent moves up paper -> capillary action
- Spotted biomolecules dissolve into solvent -> moves along with solvent -> associate to different extents with water
- Biomolecules are partitioned between two liquid phases -> the stationary phase and the mobile phase -> each have different polarities
Basic setup
- Very similar to thin layer chromatography
- Spot biomolecular mixtures on constructed line -> ensure solvent line below this line -> biomolecules don’t dissolve into solvent bulk
- Ensure the environment of beaker saturated with solvent vapor -> all liquid have a vapor pressure -> equilibrium

Gas-Liquid chromatography -> the mobile phase is gas -> gas cannot be immobilised
- Biomolecules aren’t all in liquid phase -> gas chromatography partitions volatile organic compounds
- Good for volatile samples -> small volume of sample used -> 0.1 – 1 microliter sufficient
- Stationary phase: involatile liquid held on particles of a solid support -> some of these vaporise
- Mobile phase: unreactive gas (N2, Ar) flowing through tube -> inert gas -> won’t react with sample
Components of a gas chromatograph
- Gas supply: nitrogen or helium -> carries sample through column to interact with stationary phase -> towards detector
- Sample injector: syringe or septum
- Separation column: thin tube packing -> small consistent diameter -> 0.5-1.0 mm
- Inert support matrix + non-volatile liquid: liquid interacts with matrix support -> acts as stationary phase
- Detector: ESSENTIAL -> 1. TC detector: thermal conductivity OR 2. FID detector: flame ionization detector
Basic procedure
- Sample separated based on volatility + affinity to stationary phase
- We assume -> sample consists of components of different properties
- Separation column contained in thermostat oven -> temperature gradually increased -> different components enter gaseous phase
- Gaseous components carried into separation column -> interact with stationary phase -> detector plots chromatogram
- First peak on chromatogram -> usually solvent which vaporised

Column Chromatography
- Stationary phase: solid matrix -> porous beads
- Mobile phase: buffer utilised to pass sample through column -> movement due to gravity/pressure
- Column must be uniform
Basic theory
- Porous beads used to pack the column -> stationary phase
- Large molecules cannot move into beads -> they are eluted first
- Small + intermediate molecules enter pores -> eluted last -> greater elution volume
- Different fraction collected at different volumes or points in time -> different sizes
Procedure
- Sample size -> no more than total bed volume
- Concentration of sample -> limited by viscosity -> too viscous -> too long to partition sample
- Running time -> determined by trial and error
- Flow rate through column affects resolution:
- Peak width determines separation of peaks
- Relatively slow rates good -> allows sufficient partitioning into pores
- Flow rate too fast -> time insufficient for partitioning into pores -> decreased resolution -> peaks on chromatogram overlap
- Flow rate too slow -> diffusion of sample throughout column increases -> peak width increase -> resolution decreases -> peak width increases due to increased elution time
Assess equations for specificity + resolution on math sheet
Types of column systems
Low performance liquid chromatography -> example includes column chromatography (gel filtration, ion exchange, etc)
Advantages:
- Simple system requirements
- Low cost
- Used in analytical applications
Disadvantages
- Poor limits of detection -> due to system simplicity -> relies on human interpretation
- Low efficiency -> due to long analysis time
High performance liquid chromatography
- Stationary phase -> incompressible beads
- Mobile phase -> carries sample -> pumped through at high pressure
- Separation rapid + sharp resolution
- Separates carbohydrates + proteins + nucleic acids
- Advantages:
- Fast analysis time
- Automated -> easy + less human error
- Popular for purification work
Disadvantages:
- Very expensive
- Lower sample capabilities -> only small samples loaded
Chromatography dynamics
Comparing chromatograms of low performance & high performance liquid chromatography systems
Low performance:
- Peaks relatively wide -> flow rate low compared to high performance
- Large separation times -> low flow rate -> allows sufficient time for partitioning between pores
- Lower peaks -> detection based on human interpretations
High performance:
- Peaks narrow -> very high flow rate -> high pressure
- Small separation times -> high flow rate -> high efficiency of partitioning
- High peaks -> strong detection
In depth assessment of resolution
- In terms of microscopy -> ability to tell difference between two dots
- Resolution -> ability to differentiate between two different components
- Proportional to square root of column length -> longer column -> higher portioning ability
- Improve resolution by removing column bubbles
- Overlapping peaks = poor resolution
Optimising chromatographic separation
- Ensure complete separation -> high resolution -> minimal overlapping peaks
- Ensure selective column -> increase separation between peaks -> increases resolution
- Ensure flow rate matches molecular size -> slow flow rate for small molecules -> diffusion -> widening of bands
- Spectroscopy for detection: proteins absorb at 280nm and nucleic acids at 260nm
Definitions -> ESSENTIAL
- Solvent: mobile liquid phase with no affinity to the stationary phase, also inert not reacting with sample
- Effluent: any liquid that passes out of column
- Eluent: any liquid that has lesser affinity to stationary phase than solutes capable of moving solutes through the column
- Retention volume: volume of mobile phase/eluent that passes out of column before elution of a specific substance
Understanding Chromatogram
- Substances that come out first have the shortest retention times
- Height of the peak -> amount of that substance present
- Substance eluting last -> greatest retention time -> greatest affinity to the stationary phase